# Data Quality Report

## Introduction

Cephalometric analysis is an important tool for treatment planning and assessment in dentistry and orthodontics (Ghodasra & Brizuela, 2023; Mehra et al., 2024). Current tools used for automating cephalometric landmark detection are mostly trained on European and Asian datasets, resulting in inconsistent accuracy when used with South African patients (Indermun et al., 2023). This geographical and demographic bias limits the clinical usefulness of existing cephalometric analysis tools.

This research proposes the development of a cephalometric landmark detection tool trained specifically on South African datasets. The goal is to achieve industry-standard accuracy within a two-millimetre margin (Wang et al., 2016), reducing inconsistencies and improving efficiency (Ye et al., 2023), enhancing educational outcomes at Africa's largest dental school (Tiwari et al., 2021).

By combining data from multiple sources, a deep learning model will be created and evaluated against international benchmarks (Wang et al., 2016; Zeng et al., 2020; Khalid et al., 2022) and existing systems. Deliverables include a ready-to-retrain model, a curated radiograph dataset, and a user-friendly application for automatic landmark detection.

By addressing technical and equity challenges in dental imaging, this project contributes to improved treatment planning, more consistent clinical outcomes, and reduced population bias in healthcare tools.

## Datasets

The overarching goal of this research is to develop and evaluate an AI-based cephalometric landmark detection tool trained on South African(SA) datasets, achieving a detection accuracy within the clinically acceptable 2 mm threshold. Until the team gains access to the SA data, public datasets will be leveraged. Data for training the deep learning model will be obtained from multiple sources. The main source includes datasets created for online competitions in cephalometric analysis, where researchers have developed resources specifically for training deep learning models: the Kaggle Cephalometric X-ray dataset (2019), of which the data originates from the ISBI 2015 Grand Challenge dataset (Wang et al., 2015), the PKU dataset from Peking University (Zeng et al., 2020), and the Aariz dataset (Khalid et al., 2022).

Data collection was completed, resulting in a comprehensive dataset of 1,502 cephalometric radiographs and their corresponding annotations. The Aariz subset contains 67% of the total data, with 1,000 images and annotations. The PKU is the smallest set, with only 102 cephalograms and their landmark points. The Kaggle dataset has 400 X-rays and their specific annotations.

The images are saved in different formats: PNG, BMP, JPG, and JPEG. For training, the cephalograms will be standardised into PNG. In the same manner, to standardise the file format, all annotations were converted to JSON format. Initially, some of the landmarks were saved as CSV and TXT, which complicated the structure of the dataset.

Each annotation file is expected to contain 19 anatomical landmarks, which will be validated during preprocessing.

## Data Quality Assessment Methodology

A comprehensive quality assessment was conducted to ensure the reliability of the combined dataset for the next phase – initial modelling or training. 4 main dimensions were implemented in Python to verify the quality: completeness, consistency, validity, and uniqueness. Secondary data attributes will be used to check the data over time in the dashboard: accuracy, availability, and timeliness. Each of the enumerated dimensions was evaluated thoroughly using specific validation methods.

## Validation Results- Primary dimensions

### Completeness

To evaluate the completeness of the dataset, a validation function was implemented. Firstly, the goal was to check if each image has a complementary annotation file. Secondly, each JSON file has to contain 19 valid landmark points.

Overall, the combined dataset achieved 100% completeness across all three subsets, with 1,502 valid image-annotation pairs and zero missing or incomplete records (see Table 1).

| Dataset | Total Images | Total Annotations | Matched Pairs | Missing Data | Incomplete Landmarks | Valid Samples | Completeness |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Aariz | 1,000 | 1,000 | 1,000 | 0 | 0 | 1,000 | 100% |
| PKU | 102 | 102 | 102 | 0 | 0 | 102 | 100% |
| Kaggle | 400 | 400 | 400 | 0 | 0 | 400 | 100% |
| Total | 1,502 | 1,502 | 1,502 | 0 | 0 | 1,502 | 100% |

Table 1

### Consistency

To assess the consistency of the coordinates of the landmark points, a comprehensive function was implemented. 3 key analyses were conducted: checking if the coordinates fall within the image pixel boundaries; analysing the intervals across the dataset of each of the 19 landmarks to detect potential outliers; and calculating the distances between critical landmark pairs to ensure measurements are within clinically plausible ranges. The third process could be valuable in the retraining pipeline; it would serve as a validation step for the new images. Five critical anatomical measurements were evaluated: N-Me (Nasion to Menton, representing total facial height), A-B (A-point to B-point, indicating jaw relationship), S-N (Sella to Nasion, measuring cranial base length), Go-Me (Gonion to Menton, representing mandibular body length), and UIT-LIT (Upper to Lower incisor tip, indicating incisor relationship). These measurements serve as anatomical validation gates, as unrealistic distances would indicate annotation errors or anatomical impossibilities.

All three datasets achieved 100% validity, with zero out-of-bounds coordinates detected. All the coordinates fall within the corresponding image dimensions.

In the second validation process, significant differences between the 3 subsets emerged, reflecting the variation of resolutions and the diversity of machines used to take the X-rays. The Aariz dataset showed a wide range of coordinates, for example landmark 'A' spanning X[347-1837] and Y[304-1714], indicating the most mixed collection with diverse image resolutions and patient positioning. The PKU demonstrated tighter ranges with landmark 'A' at X[1449-1799], suggesting a standardized imaging protocol with consistent equipment and positioning. The Kaggle dataset showed moderate variation with mid-range coordinates, indicating a balance between consistency and diversity in imaging conditions.

In the last validation procedure, the measurements between landmark points pairs revealed variations consistent with natural human facial diversity. Notably, the S-N measurement (Sella to Nasion, representing cranial base length) demonstrated the lowest variability across all analyzed distances, with a mean of 588.5 pixels and standard deviation of 35.8 pixels in the Kaggle dataset. This reduced variation is consistent with the anatomically stable nature of the cranial base, which exhibits less inter-individual variability compared to other facial structures. Similar patterns were observed across the Aariz and PKU datasets, with the S-N distance consistently showing tighter distributions than measurements involving more variable structures such as the mandible or incisors. No extreme outliers or anatomically impossible distances were detected, confirming annotation quality and anatomical validity across all 1,502 samples. This distance validation process could serve as an automated quality gate in the retraining pipeline for incoming South African radiographs.

### Known Limitations and Annotations Quality Notes

To verify the quality of the datasets, an interview with the client, Dr. Suvarna Indermun from the University of the Western Cape Faculty of Dentistry, was conducted. Several annotation quality issues were identified. In the Aariz dataset, the Go (Gonion) landmark showed positional inconsistencies in some annotations, where it appears offset from the expected midpoint position. While these inconsistencies fall within anatomically plausible ranges and passed the validity checks, they represent minor deviations from ideal landmark placement. Despite introducing some noise into the training data, the annotations remain acceptable for model training, as exposure to diverse annotation patterns will improve the model's ability to generalise real-world clinical scenarios. In the PKU dataset, landmark naming inconsistencies were identified. Because of the initial mapping process, some landmarks were misplaced. Minor corrections were applied to improve alignment with orthodontic standards while maintaining the integrity of the original dataset.

### Validity

All landmark coordinates were checked using a function and as mentioned above, they fall within their corresponding image dimensions across all 1,502 samples, achieving 100% validity.

### Uniqueness

To check for duplicate images in the dataset, an MD5 hashing algorithm was used to create a unique fingerprint for each image file. By comparing these fingerprints, identical images with different filenames can be identified. Files with matching hash values are flagged as duplicates.

In the Aariz dataset, duplication detection was applied to the splits of it: train, test and validation. The train set contained 700 image files with 11 duplicate groups identified, resulting in 689 unique images and 11 duplicate files (98.4% uniqueness, for the training set in Aariz). Each duplicate group consisted of two identical images with different filenames. The test and validation subsets did not contain any duplicates. Overall, the dataset demonstrates high uniqueness with minimal redundancy.

In the PKU and Kaggle datasets, there were no duplicates.

All identified duplicate files will be removed, retaining only one instance from each duplicate group.

## Future Implementation: Secondary Dimensions

In the dashboard, 3 additional dimensions will be implemented to monitor data quality over time: accuracy, availability and timeliness.

### Accuracy

Once the model is deployed, the accuracy of the predictions will be compared with the ground truth- correct annotations. This step of validation will track the model performance over time, focusing on preventing the incorrect data from entering the pipeline.

### Availability

To check this dimension, periodically there will be attempts to retrieve random images and annotations from Azure storage. The dashboard will log successful and failed retrieval attempts, track the percentage of accessible files and identify potential storage or connectivity issues that could impact the training pipeline.

### Timeliness

Timeliness will be evaluated through two checks. First, the metadata timestamp of each image will be validated to ensure it is not set to a future date, which would indicate data corruption or incorrect timestamp recording. Second, the dashboard will measure the latency of data retrieval operations from Azure, tracking how long it takes to pull images and annotations. Excessive retrieval times could indicate storage performance issues or network problems that may impact model retraining efficiency.

These secondary attributes complement the primary validation dimensions (completeness, consistency, validity, and uniqueness) by providing ongoing monitoring capabilities once the system moves into production with South African radiographs.

## Conclusion

The thorough data quality assessment confirms that the combined dataset of 1,502 images is ready for the next phase – training. The overall data quality KPI was calculated as follows:

Data Quality KPI = (Passed data quality checks / Total executed data quality checks) × 100%

Applying this formula across the four primary dimensions:

Data Quality KPI = (1,502 + 1,502 + 1,502 + 1,491) / (1,502 + 1,502 + 1,502 + 1,502) × 100%

Data Quality KPI = 5,997 / 6,008 × 100% = 99.8%

As highlighted above, the dataset passed the primary dimensions validity, completeness and consistency tests with a 100% score. The uniqueness test, because of the 11 duplicates from the Aariz dataset, achieved a 99.3% score.

Before proceeding to the modelling phase, some critical preprocessing steps need to be completed: the removal of the 11 duplicates from the Aariz dataset, the conversion of all the images into the PNG format and the implementation of resolution normalisation to address coordinate range variations.

The validation methods developed during this assessment will be integrated into the production dashboard to monitor data quality when South African radiographs become available, ensuring consistent data integrity throughout the model lifecycle.

## References

- Ghodasra, R., & Brizuela, M. (2023, July 17). Orthodontics, cephalometric analysis. StatPearls – NCBI Bookshelf. https://www.ncbi.nlm.nih.gov/books/NBK594272/

- Indermun, S., Shaik, S., Nyirenda, C., Johannes, K., & Mulder, K. (2023). Human examination and artificial intelligence in cephalometric landmark detection—is AI ready to take over? Dentomaxillofacial Radiology, 52(6), 20220362. https://doi.org/10.1259/dmfr.20220362

- Mehra, P., Neeraja, R., Anbarasi, L., Ravi, V., & Mazroa, A. (2024). VGG-16 based deep learning approach for cephalometric landmark detection. The Open Public Health Journal, 17, e18749445338097. https://doi.org/10.2174/0118749445338097240923063441

- Tiwari, R., Bhayat, A., & Chikte, U. (2021). Forecasting for the need of dentists and specialists in South Africa until 2030. PLOS One, 16(5), e0251238. https://doi.org/10.1371/journal.pone.0251238

- Wang, C. W., Huang, C. T., Lee, J. H., Li, C. H., Chang, S. W., Siao, M. J., Lai, T. M., Ibragimov, B., Vrtovec, T., Ronneberger, O., Fischer, P., Cootes, T. F., & Lindner, C. (2016). A benchmark for comparison of dental radiography analysis algorithms. Medical Image Analysis, 31, 63-76. https://doi.org/10.1016/j.media.2016.02.004

- Ye, H., Cheng, Z., Ungvijanpunya, N., Chen, W., Cao, L., & Gou, Y. (2023). Is automatic cephalometric software using artificial intelligence better than orthodontist experts in landmark identification? BMC Oral Health, 23, 467. https://doi.org/10.1186/s12903-023-03188-4

- Zhang, H., Wang, C.-W., Muzakky, H., Dai, J., Li, X., Ma, C., Wu, Q., et al. (2024). Deep Learning Techniques for Automatic Lateral X-ray Cephalometric Landmark Detection: Is the Problem Solved? arXiv, in conjunction with the 2023 MICCAI CL-Detection Challenge. arXiv:2409.15834. https://doi.org/10.48550/arXiv.2409.15834

- Khalid, M. A., Zulfiqar, K., Bashir, U., Shaheen, A., Iqbal, R., Rizwan, Z., Rizwan, G., & Fraz, M. M. (2022, 9 december). CEPHA29: Automatic Cephalometric Landmark Detection Challenge 2023. arXiv.org. https://arxiv.org/abs/2212.04808

- Khalid, M. A., Zulfiqar, K., Bashir, U., Shaheen, A., Iqbal, R., Rizwan, Z., Rizwan, G., & Fraz, M. M. A Benchmark Dataset for Automatic Cephalometric Landmark Detection and CVM Stage Classification. Scientific Data 12, 1336 (2025). https://doi.org/10.1038/s41597-025-05542-3